Environmental
Cleaning Services

PROCEDURE

MANUAL

(working template – based on
Seven Oaks General Hospital’s experience)

Provided with the assistance of:

Table of Contents

Procedure	Page

Equipment List	3

Product Cross Reference Table	4

Patient Rooms	5

Terminal (Discharge) Cleaning	6

Patient Bathrooms	7

Isolation Room Precautions	8

Isolation Room Terminal Cleaning	8

Blood and Body Fluid Spills (Clinical Areas)	9

Blood and Body Fluid Spills (Secondary Cleaning)	9

Tub and Shower Rooms	10

Examination/Treatment/Emergency Rooms & Stretcher Bays	11

Day Rooms and Dining Rooms	12

Nurse’s Station	13

Multi-Purpose Room, Lounges and Utility Rooms	14

Conference Rooms and Offices	15

# Equipment List

Please prepare your Equipment Cart with the following items:

| Cleaning Cloths | High Duster | Dust Mop |
| --- | --- | --- |
| BioStic Mop Handle | Micro Pads (Blue) | Banister Brush & Dustpan |
| Bowl Swab & Caddy | Pro-Link Crème Cleanser | Putty Knife |
| PerDiem* / PerCept** | Blast | Personal Protective Equip |
| Look Glass Cleaner | Green Scrub Pads | Cleaning Cloths (Rags) |
| Paper Supplies 9 Rolls Toilet Paper 10 Packs Paper Towels | Sanitary Napkin Bags | Garbage Liners 1 Case SMALL - 22 X 24 1 Case LARGE - 35 X 50 |

| Additional items that should be available include: |
| --- |
| - Wet Floor Signs | - Breakdown Cleanser |
| - Autoscrubber | - Bucket |
| - Mop | - Pro-Link Total Restroom |

| Additional equipment that should be available include: |
| --- |
| - Vacuum Cleaners |  |

*PERDIEM –	Dispensed at specific cleaning ratios via Command Centre, Janitor Closet

**PERCEPT –	Dispensed at specific cleaning ratios via Command Centre, Janitor Closet

# Product Cross Reference Table

| Product Name | Classification | Use | Dilution |
| --- | --- | --- | --- |
| PRO-LINK CRÈME CLEANSER | Cream Cleanser | General Bathroom Cleaning | RTU |
| BREAKDOWN | Deodorizing Cleanser | High Odour Environments | RTU |
| PERDIEM | Germicidal Solution | Light Duty Cleaning (daily floors and walls) | 1:256 (16 ml per 4 l Water) |
| PERDIEM | Germicidal Solution | Heavy Duty Cleaning (all hand contact and wet damp areas, e.g. call buttons, bathroom fixtures, counter tops, railings) | 1:64 (63 ml per 4 l Water) |
| PERCEPT | Germicidal Solution | Body-Fluid Spill Clean-Up | 1:16 (250 ml per 4 l Water) |
| PERCEPT | Germicidal Solution | VRE & Epidemic MRSA | 1:16 (250 ml per 4 l Water) |
| PERCEPT | Germicidal Solution | Critical Care Floors (O.R., ICU, Isolation, Emergency, Ambulatory) | 1:64 (250 ml per 4 l Water) |
| LOOK GLASS CLEANER | Glass and Surface Cleaner | Mirrors and Windows | RTU |
| BLAST | Heavy Duty Spot Cleaner | General-Use Spot Remover | RTU |
| PRO-LINK TOTAL RESTROOM | Heavy Duty Bowl Cleaner | Toilet Bowls and Plumbing | RTU |

# Patient Rooms

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | PREPARATION | Change BioStic/Micro Pad and PerDiem for every second patient room and (change for every cubicle in ICU). Wipe down BioStic after each solution change. Put on a new pair of disposable gloves (use a new pair for each patient). Start each room with a fresh cleaning cloth. |
| 2. | LOOSE MATERIAL | Gather loose material and place in garbage bag. |
| 3. | VERTICAL SURFACES | Spot-wash walls and doors with PerDiem. Use Blast for stubborn stains. Spot-wash windows with Look Glass Cleaner. |
| 4. | HORIZONTAL SURFACES | Spot-wash sills and ledges with PerDiem. Damp-wipe frequently contacted horizontal surfaces, e.g. over-bed table, bedside table, bed-rails (side, head & foot), chairs, and stools. Use Blast for stubborn stains. |
| 5. | FIXTURES | Damp-wipe all other fixtures (call lights, switches, doorknobs, telephones, television sets, etc.). Use Blast for stubborn stains. Personal items will be cleaned on request, and only if time schedule allows. Please ensure a co-worker (e.g. HCA, ECS Aide) is present while cleaning personal effects. |
| 6. | BED-SIDE CURTAINS | If bedside curtains are soiled, obtain a clean set from Janitor Closet on Unit 6 (all Levels). Remove the soiled curtains and replace with clean set. Bag soiled curtains, and store in janitor closet until shift end. |
| 7. | GARBAGE | Remove garbage bags from receptacles, spot-clean bin with PerDiem and replace bags. |
| 8. | FLOOR | Dry-mop floor. Wet-mop floor with BioStic/Micro-Pad and PerDiem. |
| 9. | VISUAL CHECK | Inspect Room and wash your hands. Advise Unit Clerk of any needed repairs, replacement or alterations. |
| Weekly |
| 10. | GARBAGE | Fully damp-wipe garbage receptacles with PerDiem. Use Blast for stubborn stains. |
| 11. | DUSTING | Conduct high damp-dusting (vents, light fixtures, curtain tracks) and low damp-dusting (baseboards, wall outlets). |
| 12. | SILLS & LEDGES | Fully damp-wipe all sills and ledges with PerDiem. |
| Monthly |
| 13. | VERTICAL BLINDS | Dust/vacuum vertical blinds and tracks and spot-clean with PerDiem. If blinds are damaged, take to ECS/Maintenance, for exchange and re-install. Report any missing or damaged blinds to Unit Clerk or Maintenance. |
| If more than one month has elapsed since the last terminal cleaning. |
| 14. | CLOSET | Arrange for removal of patient’s personal items with Unit Staff. Damp-wipe all surfaces with PerDiem. |
| 15. | TABLES | Ensure that all personal items have been removed. Damp-wipe all surfaces (inside drawers, bottom of tables, etc.) of the bedside table and over-bed table with PerDiem. |
| 16. | BED | Coordinate timing with unit staff. Damp-wipe mattress, pillows, bed-rails and bed-frame with PerDiem. Wipe dry bed as required. |
| Annual Cleaning |
| 17. | ENTIRE ROOM | To be done conducted by ECS Staff once a year (step 1 – 16). |

Additional Tasks for a Patient Room
Terminal (Discharge) Cleaning

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change again prior to cleaning the next room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Loose Material | Gather loose material and place in garbage bag. |
| 3. | Linen/Towels | If not already done by Unit Staff, remove sheets, pillowcases, blankets, bed-pads, bedspreads, towels and washcloths and place in soiled laundry bag as required. |
| 4. | Soap | If present, discard bar-soap. |
| 5. | Bedside Curtains | If bedside curtains are soiled, remove, place in laundry, and obtain replacement from Janitor Closet on Unit 6 and install. |
| 6. | Vertical Surfaces | Spot-clean walls, doors, and windows with PerDiem. |
| 7. | Horizontal Surfaces | Spot-clean sills and ledges with PerDiem. |
| 8. | Closet | Damp-wipe all surfaces with PerDiem. |
| 9. | Bed | Damp-wipe mattress, pillows, bed side-rails, and bed frame with PerDiem as required. |
| 10. | Furniture | Damp-wipe all surfaces (inside drawers, bottom of tables, etc.) of the bedside table and overbed table with PerDiem as required. |
| 11. | Fixtures | Damp-wipe all other fixtures (call lights, switches, doorknobs, and telephones) with PerDiem. |
| 12. | Television Sets | Damp-wipe television sets, cables and remote controls. |
| 13. | Call Cord | Wipe down call cord with PerDiem. |
| 14. | Garbage | Fully damp wipe garbage receptacles with PerDiem. Use Blast for stubborn stains. |
| 15. | Floor | Dry-mop floor. Wet-mop floor with BioStic/Micro-Pad and PerDiem. |
| 16. | Bathroom | Clean completely (as per daily/weekly routine). |
| 17. | Visual Check | Inspect room and wash your hands. |
| 18. | Notify Unit Clerk | Notify nursing staff that bed/room is ready for another patient. |

Patient Bathrooms

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change again prior to cleaning the next room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Loose Material | Gather loose material and place in garbage bag. |
| 3. | Toilet, Sink & Plumbing | Squirt PerDiem in toilet bowl and sink and let stand. Use Pro-Link Cream Cleanser cleaner for stubborn stains. |
| 4. | Vertical Surfaces | Spot-wash walls and doors with PerDiem. Use Blast for stubborn stains. |
| 5. | Mirrors | Clean mirrors with Look glass cleaner. |
| 6. | Sink | Scrub sink, rinse with water, and damp-wipe with PerDiem. |
| 7. | Fixtures | Damp-wipe all other fixtures (switches, doorknobs, shelves, faucets, rails, plumbing, etc.). Use Blast for stubborn stains. |
| 8. | Garbage | Remove garbage bag from receptacle, spot-clean receptacle with PerDiem and replace bag. |
| 9. | Toilet Bowl | Scrub bowl with brush and rinse with water. Then damp-wipe all toilet surfaces (both sides of seat, inside and outside of bowl and base) with PerDiem, including the handle. |
| 10. | Supplies | Replenish toilet paper and paper towels, as required. Replace soap if necessary (never top up hand cleaner bottles). |
| 11. | Floor | Dry mop floor, then wet-mop with PerDiem. |
| 12. | Visual Check | Inspect bathroom and wash your hands. |
| Weekly |
| 13. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |
| 14. | Toilet | Conduct heavy cleaning on toilet, using Pro-Link Total Restroom cleaner. |
| 15. | Garbage | Fully damp-wipe garbage receptacles with PerDiem. Use Blast for stubborn stains. |

# Isolation Room Precautions

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| 1. | Personal Protective Equipment (PPE) | Any isolation room will have a list on the door detailing personal precautions that should be taken. Generally, for epidemic MRSA and VRE cleaning, an isolation-gown, mask (if indicated) and new gloves should be donned prior to entering the room. Just prior to leaving the room the gown, mask and gloves should be removed. Hands should be washed thoroughly before leaving the room. |
| 2. | Cleaning Supplies | A germicidal spray bottle, germicidal concentrate bottle (PerCept – dilution factor 1:16), toilet brush, and caddy. Please note that toiled brush and caddy are to be kept in the patient’s room for cleaning. BioStic and micro pads are to be cleaned with PerCept (allow to stay wet for 5 minutes) and removed from room after each cleaning. |
| 3. | Cleaning Procedures | Clean the room as per normal daily, weekly, or monthly routine as appropriate. Change micro pad after each use. |

# Isolation Room Terminal Cleaning

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| In addition to a regular terminal cleaning, the following should be done: |
| 1. | Personal Protective Equipment (PPE) | Same as for a daily isolation cleaning. |
| 2. | Cleaning Supplies | Use fresh supplies. |
| 3. | Bed-Side Curtains | Remove bedside curtains as applicable, obtain replacement, and install. |
| 4. | Vertical/ Horizontal Surfaces | Fully wash all surfaces with PerCept 1:16 including windows and blinds. Blinds are to be sprayed with PerCept 1:16. |
| 5. | Equipment | Clean all equipment that is not sent to CP for reprocessing with PerCept 1:16. Please note that unit staff should have removed all medical equipment and supplies and emptied cupboards prior to room cleaning (e.g. IV Poles, Commode Chairs, etc.). |
| 6. | Call Cord | Wipe call cord. |
| 7. | Cleaning Supplies | Wipe all supplies with PerCept 1:16, including spray bottles, mop handles and brushes. Bag mop head and send to laundry. |
| 8. | Visual Check | Inspect room, dispose of PPE and wash your hands. |
| 9. | Room Status | Report that room has been cleaned to Unit Clerk, including any cracks in call-bells, or if pull-cords need repair. |

# Blood and Body Fluid Spills

(Clinical Areas)

Unit Staff

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| 1. | Preparation | Wear appropriate Personal Protective Equipment. Put on a new pair of disposable gloves. |
| 2. | Initial Clean-Up | Remove excess blood and/or body fluids with absorbent material (e.g. paper towel) and discard material into garbage bag. |
| 3. | Gloves | Remove gloves and place in garbage bag. |
| 4. | Garbage | Close and seal garbage bag. |
| 5. | Apply Disinfectant | Wash hands and put on a new pair of gloves. Apply PerCept (1:16) RTU to the spill area and allow to remain wet for five (5) minutes. Wipe dry. |
| 6. | Garbage | Place in garbage collection area. |
| 7. | Gloves | Remove and discard gloves. Thoroughly wash and dry hands. |

# Blood and Body Fluid Spills

(Secondary Cleaning and Non-clinical/Public Areas)

ECS Staff

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| 1. | Preparation | Wear appropriate Personal Protective Equipment. Put on a new pair of disposable gloves. Gather supplies from cleaning cart (BioStic handle, micro pad, PerCept spray bottle, rags). |
| 2. | Apply Disinfectant | Apply PerCept (1:16) RTU to the spill area and allow to remain wet for five (5) minutes. Wipe dry. |
| 3. | Mop | Mop or wipe up area using a clean mop. |
| 4. | Stow Equipment | Change and bag micro pad and rags. Return soiled equipment to the ECS office for laundering at the end of shift. |
| 5. | Gloves | Remove and discard gloves. Thoroughly wash and dry hands. |
| 6. | Non-clinical and Public Areas | Follow the cleaning instruction for clinical areas at the top of this page. |

# Tub and Shower Rooms

(as required)

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change again prior to cleaning the next room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Loose Material | Gather loose material and place in garbage bag. |
| 3. | Tub/Shower | Rinse shower/tub, saturate rag with cleanser and wipe all tub/shower surfaces including rails, faucets and other fixtures. Rinse tub/shower with water, and then damp-wipe surfaces with PerDiem. |
| 4. | Walls/Doors | Spot-wash walls and doors with PerDiem. For stubborn stains use heavy-duty spot remover. |
| 5. | Fixtures | Damp-wipe all other fixtures (light switches, doorknobs, shelves, etc.) with PerDiem. Use heavy-duty spot remover for stains. |
| 6. | Garbage | Remove garbage bag, spot-clean receptacle and replace bag. |
| 7. | Floor | Wet-mop floor. |
| 8. | Visual Check | Inspect Tub/Shower Room. |
| Weekly |
| 9. | Garbage | Fully clean garbage receptacles. |
| 10. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |

# Examination/Treatment/Emergency Rooms

# and Stretcher Bays

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerCept and change again prior to cleaning the next room/bay. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Loose Material | Gather loose material and place in garbage bag. |
| 3. | Vertical Surfaces | Spot-wash walls and doors with PerCept. For stubborn stains use heavy-duty spot remover. |
| 4. | Horizontal Surfaces | Spot-wash sills, shelves, desks and ledges with PerCept. |
| 5. | Fixtures | Damp-wipe frequently contacted surfaces (examining tables, bedside tables, chairs, step stools, desks, switches, doorknobs, poles, etc.) with PerCept. Use heavy-duty spot remover for stubborn stains. Wipe equipment support brackets/poles. Please note that Unit Staff will clean equipment (e.g. pumps, monitors, etc.). |
| 6. | Sinks, Faucets & Plumbing | Scrub with cleanser, rinse with water, and then damp wipe with PerCept. |
| 7. | Bedside Curtain | If bedside curtains are soiled, remove, place in bag, get replacement and install. Damp-wipe plastic curtain liners (shower curtains) outer surface with PerCept. |
| 8. | Garbage | Twice daily (!) remove garbage bag, spot-clean receptacle and replace bag. |
| 9. | Floor | Dry-mop floor, then wet-mop with PerCept. |
| 10. | Visual Check | Inspect room. |
| Weekly |
| 11. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |
| 12. | Faucets | Scrub faucets and exposed plumbing with heavy-duty bathroom cleaner. Rinse with water and then damp-wipe with PerCept. |
| 13. | Beds | Fully wash examining tables, beds, and stretchers with PerCept as required. |
| 14. | Garbage | Clean garbage receptacles. |

Day Rooms and Dining Rooms

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change again after every second room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. Obtain vacuum. |
| 2. | Loose Material | After meals, gather loose material and place in garbage bag. Tidy magazines and other items on shelves and tables. |
| 3. | Vertical Surfaces | Spot-wash walls and doors with PerDiem. For stubborn stains use heavy-duty spot remover. Spot-wash windows with Look glass cleaner. |
| 4. | Horizontal Surfaces | Spot-wash shelves, sills, ledges and other horizontal surfaces. |
| 5. | Furniture | Damp-wipe all chairs, tables, and couches with PerDiem. |
| 6. | Clean Fixtures | Damp-wipe fixtures (telephone, clock, television sets, etc.). |
| 7. | Sinks | Scrub sink, faucets and exposed plumbing with cleanser, rinse with water, then damp-wipe with PerDiem. |
| 8. | Supplies | Replenish paper towels and hand soap as necessary. |
| 9. | Garbage | Remove garbage bag, spot-clean receptacle with PerDiem and replace bag. |
| 10. | Floor | Spot clean using the carpet sweeper or dry-mop and then wet-mop with PerDiem. |
| 11. | Visual Check | Inspect room. |
| Weekly |
| 12. | Plumbing | Clean sinks and plumbing with heavy-duty plumbing cleaner. |
| 13. | Garbage | Clean garbage receptacles with PerDiem. |
| 14. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |
| 15. | Floors | Thoroughly vacuum carpets or dry mop and then wet-mop with PerDiem. |

# Nurse’s Station

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change after every room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Loose Material | Gather loose material and stow properly or place in garbage bag. |
| 3. | Vertical Surfaces | Spot-clean walls with PerDiem. |
| 4. | Horizontal Surfaces | Spot clean shelves, ledges, and desks with PerDiem. |
| 5. | Fixtures | Spot-clean office equipment, such as telephones, fax machines, calculators, computers, printers, etc. with PerDiem. Do not spray or damp-wipe LCD (flat screen) monitors, or keyboards! |
| 6. | Floor | Carpet-sweep or spot-wash as necessary. |
| 7. | Garbage | Remove garbage bag, spot-clean receptacle and replace bag. |
| Three Times Weekly |
| 8. | Vertical Surfaces | Spot-wash walls and doors. For stubborn stains use heavy-duty spot remover. |
| 9. | Horizontal Surfaces | Damp-wipe horizontal surfaces (shelves, sills, ledges, filing cabinets, counters, tables, and chairs) with germicidal solution. Use heavy-duty spot remover for stubborn stains. |
| 10. | Office Equipment | Damp-wipe outer-surfaces of telephones, fax machines, calculators, computers (except keyboard), printers, etc. |
| 11. | Floor | Dry mop floor, then wet-mop with PerDiem. |
| 12. | Visual Check | Inspect Nursing Station. |
| Weekly |
| 13. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |
| 14. | Garbage | Clean garbage receptacles with PerDiem. |

# Multi-Purpose Rooms, Lounges,
Doctor’s Lounge and Utility Rooms

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change after every room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Loose Material | Gather loose material and place in garbage. |
| 3. | Vertical Surfaces | Spot-clean walls and doors with PerDiem. Spot-clean windows with glass cleaner. |
| 4. | Horizontal Surfaces | Damp-wipe surfaces (wire shelves, regular shelving, sills, ledges, tables). Use heavy-duty spot remover for stains. |
| 5. | Furniture | Spot-clean chairs, tables, couches and other furniture with PerDiem. Tidy reading materials and other items on shelves and tables. Wipe desks (only when empty) with PerDiem. |
| 6. | Sink, Counters, Dispensers | Scrub sink with cleanser, rinse with water, then wipe sink, faucets, plumbing, and counter with PerDiem. |
| 7. | Supplies | Replenish hand soap and paper towels as necessary. |
| 8. | Floor | Dry-mop floor, then wet-mop with PerDiem, or vacuum if carpeted. |
| 9. | Garbage (twice daily) | Remove garbage bag, spot-clean receptacle with PerDiem and replace bag. |
| 10. | Visual Check | Inspect Room. |
| Weekly |
| 11. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |
| 12. | Garbage | Clean garbage receptacles with PerDiem. |

Conference Rooms and Offices*

| Step | Description | Task Routine/Standard |
| --- | --- | --- |
| Daily |
| 1. | Preparation | Start with BioStic/Micro Pad and PerDiem and change after every room. Put on a new pair of disposable gloves. Start with a fresh cleaning cloth. |
| 2. | Garbage | Gather loose material, remove garbage bag, spot-clean receptacle and replace bag. |
| 3. | Tables/Chairs and Desks | Tidy tables and chairs, and spot-wash. Wipe desks (only when empty) with PerDiem. Do not spray or damp-wipe LCD (flat screen) monitors, or keyboards! |
| 4. | Floor | Spot-clean floor and/or dry mop. |
| 5. | Visual Check | Inspect room. |
| Weekly |
| 6. | Horizontal Surfaces | Damp-wipe horizontal surfaces (shelves, sills, ledges, filing cabinets, counters, tables, and chairs). Use heavy-duty spot remover for stains. |
| 7. | Fixtures | Damp-wipe other surfaces (lamps, fax, phones, computers, whiteboards, wall hangings, etc.). Polish computer screen with glass cleaner. Do not clean keyboards or erase white boards. |
| 8. | Walls/Doors | Spot-wash walls and doors. For stubborn stains use heavy-duty spot remover. |
| 9. | Garbage | Clean garbage receptacles with PerDiem. |
| 10. | Dusting | Conduct high damp-dusting (vents and light fixtures) and low damp-dusting (baseboards, jacks, and outlets). |
| 11. | Floors | Wet-mop floor or thoroughly vacuum carpets as appropriate. |
| Annual Cleaning |
| 12. |  | Annual office and conference room cleaning may be requested by contacting the Environmental Cleaning Services Supervisor. |

# *For routine office cleaning, offices must be accessible (unlocked).

# Alternate arrangements may be made with the ECS Supervisor.

Original Template Compiled by the Equipment Cleaning Project Team

Seven Oaks General Hospital, Winnipeg, April 2007

Presented at the HCAI meeting with Steve Davies

Union Centre, Winnipeg, May 2009

For more information contact:

Nicole Campbell

CUPE Health Care Coordinator

ncampbell@cupe.ca

DL:cbc/cope 491

13-May-09